## Slide 1
NNN05 Next Generation of Nucleon Decay and Neutrino Detectors 7-9 April 2005, Aussois, Savoie, France
detector considerations for neutrino physics
Tony Wright, Electron Tubes Limited

## Slide 2: detector considerations for neutrino physics
light detection:
large solid angle
large cathode area
long operating life
high gain
well-resolved SER
fast timing and freedom from artefacts
pressure resistant
chemically inert glass – free from radioisotopes
low temperature operation
power considerations
high voltage supplies and control
voltage dividers

## Slide 3: range of hemispherical photomultipliers
Type d(mm) dynodes σ(τ) ns comments
9116 25 6 1.0 high light levels
9114 25 10 1.2
9117 38 6 1.1 high light levels
9372 130 12 2.7
9350 200 14 8
9352 200 6 6 high light levels
9353 200 12 2.7 chemically inert
9354 200 12 2.7 ultra low background 5 Atm
9357 200 12 2.7 -200 0C operation
D737 230 12 2.7
D738 250 12 2.8
9360 280 12 3.0

## Slide 4: glass characteristics
thickness: ranges from 2 to 4 mm
pressure: 2 to 5 atmospheres
radionuclides:
type K(ppm) Th(ppb) U(ppb)
8246 30 30 30
B53 60 30 30
B47.2 300 250 100
8245 1400 900 1100

## Slide 5
single electron response SER

## Slide 6
timing distribution

## Slide 8
lifetime

## Slide 9: power supplies
CW type with n individual socket outputs
active divider with n individual outputs
low power dc-dc converter with single output
industrial dc-dc converter with single output

## Slide 10: power supply outlines
PS1800/PS1806
PS2010
PS2001

## Slide 11: optimising photomultiplier performance with low power consumption
battery operated
solar powered (Auger, satellites)
underwater, under ice, in liquid argon
two considerations:-
consuming power (voltage divider)
providing power (HV supply)

## Slide 12: voltage divider considerations
Requirement:
establish and maintain set of fixed dynode potentials
there are two generic types available:
traditional resistor configuration
active type (FET)
The all-resistor divider always fails the requirement if the mean anode current varies significantly. Active dividers fix the dynode potentials regardless of mean anode current.

## Slide 13: active divider networks

## Slide 16: power supplies
Type | Input power (mW) | Efficiency | Output current
PS1800 | 120 | - | Ia = 200 A
PS1806 | 400 | - | Ia = 200 A
PS2010 | 340 | 60% | ID0 = 100 A
PS2001 | 4800 | 40% | ID0 = 1000 A

## Slide 17: high voltage supply and control system – HVSys
multichannel power supply system
individual channel control and monitoring
RS485 interface
requires only single +12V supply

## Slide 18
functional diagram of 1 channel. The hardware shown is integrated within each power base enclosure

## Slide 21: detector considerations for neutrino physics
Ron Stubberfield
ron.stubberfield@electron-tubes.co.uk
Tony Wright
tony.wright@electron-tubes.co.uk
available to discuss your particular
requirements