WG 6 Liquids

(1st Draft)

Laguna meeting, Paris July 21st, 2006

WG 6 Proposal Group

L. Oberauer (TU Munich), A. Rubbia (ETH Zürich),

…

Deliverables

Design of liquid handling systems for GLACIER, LENA, and MEMPHIS

Definition of the way how to fill the detectors with the liquids argon, scintillator, and water and to maintain the specifications (optical properties and radiopurity.

Milestones

Evaluation of procurements for argon, liquid scintillators, ultrapure water and ultrapure gases (like N2): Availability, costs, transport, and quality (transparency, light yield, radiopurity etc.).

Evaluation of the filling techniques of the detectors: Filling strategy and logistics (tanks, tubing etc.). Methods to avoid recontamination.

Evaluation of purification systems for argon, liquid scintillators, and ultrapure water:

Purification in order to achieve the goals for radioactive levels, optical properties.

Evaluation of the compatibility with detector components, which are in contact with the liquids: Corrosion, radon emanation, long term stability of the optical and low radioactivity levels of the liquids.

Evaluation of the gas systems needed for maintenance and purification: Radon depleted N2 – supply for gas blanket and purification systems.

Evaluation of quality control methods: Development of in-situ measuring techniques for optical properties (link to calibration), light yield, and radiopurity.

Methods

Generally:

Investigation of availability, costs, transport methods. Development and performance of test measurements for optical properties and radiopurity. Development and performance of accelerated aging tests for compatibility measurements. Development of in-situ calibration tools for optical properties. Development of in-situ measurement techniques for determent of the radiopurity levels.

Scintillators: Test measurements of the light yield, absorption and scattering lengths and the timing of various liquid scintillator samples. Test measurements of purification methods with solid columns (e.g. Si-gel, Al2O3), gases, liquids (e.g. water extraction). Development of systems for scintillator mixing with wavelength shifters. Development and tests of purification methods for wavelength shifters.

Water: Test measurements of water purification systems (e.g. reverse osmosis, deionization, distillation etc.). Determination of Ra, Rn, U, and Th – levels by different experimental methods. Tests of solubility and stability of Gd-compounds in water and the compatibility with detector components.

Liquid Argon: Development and testing of cryogenic systems for LAr handling and purification.