Pour papier LAGUNA (23 octobre 2006)  L. Mosca

III. UNDERGROUND SITES

The proposed large detectors require underground laboratories of adequate size and depth, naturally protected against cosmic rays, which represent a potential source of background events mainly for non-accelerator experiments.

Additional characteristics of these sites contributing to qualify them as best candidates for the proposed projects of experiments are: the type and quality of the rock allowing the feasibility of such a large caverns at reasonable cost and time, the distance from existing or future accelerators and nuclear reactors, the type and quality of the access, the geographical position, the quality of the environment, etc.

The presently pre-selected candidate sites in the world are essentially located in 3 regions : North-America, Asia (Japan/Korea, ….) and Europe. In this paper we consider the European region, where, at this stage, the following sites are assumed as candidates: Fréjus (France/Italy), Pyhäsalmi (Finland), Boulby (UK), Canfranc (Spain) and Sieroszewice (Poland).

(See Table II for a summary of the basic characteristics of these candidate sites).

The Gran Sasso Lab. site (Italy) possible participation is not fixed for the moment, and the possibility of under-water solutions (ex: Pylos for the LENA project) is not taken into account here.

The identification and measurement of the different background components in the candidate sites (muons, fast neutrons from muon interactions, slow neutrons from nuclear reactions in the rock, gammas, electrons/positrons and alphas from radioactive decays,…) is underway mainly in the context of the ILIAS European (JRA) Network. (See Table II for a collection of the presently known values of these background components).

For two of the candidate sites (Fréjus and Pyhäsalmi) a preliminary feasibility study has been already performed.

For the Fréjus site the main conclusion from the performed simulations (in 2005), constrained by a series of rock parameters measurements made during the Fréjus road tunnel excavation, is that the “shaft shape” is strongly preferred compared to the “tunnel shape” for large cavities and that several (up to 5) such shafts cavities, with a diameter of about 65m (a volume of 250 000 m3)  each, seem feasible in the region around the middle of the Fréjus Tunnel, where by chance the quality of the rock is the best (at a depth of 4800 mwe).

For the Pyhäsalmi site the preliminary study has been performed (in 2002) for two main cavities with tunnel-shape and dimensions, respectively (20 x 20 x 120) m3 and (20 x 20 x 50) m3, and one shaft-shaped cavity with 25 m in diameter an 25 m in height, all at a depth of about 1430 m of rock (≈ 4000 mwe).

Concerning Table II, I suggest to use for the « Vertical Depth »

the more commonly used unit : m.w.e. (instead of : km.w.e)

Concerning the Fig 24 : The values for : Fréjus, Canfranc, Pyhäsalmi and Sieroszewice

sites are missing , …

Figure à corriger !! (échelles des coordonnées et “singularisation” du Fréjus)