ANALYSIS OF ABELL 1205

JEC-AST, Nov 2011

LAL, Orsay

We study the galaxy cluster Abell 1205 in the frequency band [1250,1500] MHz. In particular, we are interested in:

- The effect of the calibration in the ON-OFF signals.

- The evolution of the ON-OFF signal integrated in the HI galactic line at 1420.4 MHz, and in the HI-line sides at [1418,1419][1422,1423] MHz, for Raw and calibrated data.

- The evolution of the sensitivity with the integration time in the HI galactic line and the protected band [1400,1420] MHz (with Raw data).

We add some plots on other topics, such as data stability, HI cosmological line and radar signals present in the data.

# Whole range [1250,1500] MHz

There is very little difference between ON-OFF and (ON-OFF)/OFF (no plot is included).

The calibration increases the differences between Ch0 and Ch1. We find almost the same effect for calibration per run or per cycle (no plot of calibration per cycle is included).

HI galactic line at 1420.4 MHz

The evolution of the integrated ON-OFF HI line signal is affected by calibration. We show the mean ON-OFF Raw, Calib_per_Run and Calib_per_Cycle for the frequency band [1420.2,1420.6] MHz. The Raw option is the most stable. In the Calib_per_Run the run structure shows up. The Calib_per_Cycle plots appear to be less stable (in a different way for channels 0 and 1). Note the change in Y-axis scale in the Calib_per_Cycle plot.

Making the Y-axis projection of the previous plots we see clearly an increase in the distribution width from Raw to Calib_per_Run and Calib_per_Cycle.

# HI galactic line sides

We do the same analysis in the region just surrounding the HI line, i.e. the band [1418,1419]  [1422,1423] MHz. We observe the same features as above, i.e. run structure in the Calib_per_Run plot and less stability in the Calib_per_Cycle plot.

The Y-axis projection of the previous plots shows the spread in width already shown for the HI line.

# Data stability

We remark a worsening in the data quality from end of August / beginning of September 2011. It is clearly seen in the mean Raw ON-OFF plot as a function of cycle in the band [1420.2,1420.6] MHz. The 600 cycles used in the previous plots correspond approximately to the period 15th April – 18th August 2011, where data are stable. Normal functioning seems to be recovered at the end of September (22nd and 24th September data). We find in the logbook comments on RAZ problems in September, in addition to the change in SCA file structure noticed on 31st August 2011.

# Sensitivity

We show the Raw ON-OFF and its standard deviation vs. integration time obtained with 600 cycles of data, in the HI galactic line sides at [1418,1419][1422,1423] MHz and in the protected band [1400,1420] MHz. The evolution of the standard deviation agrees with the expected law   1/tint in the case of the line sides. In the protected band, the difference between the data and the expected law is probably due to the signal increase at frequencies close to 1420 MHz.

# HI signal from galaxy cluster

Abell 1205 is a cluster at redshift z~0.0754, thus we expect to detect the 21-cm HI line at the frequency of 1328.4 MHz. We see in the ON/OFF and OFF/OFF signals that the band around this frequency is polluted by RFI. The operation ON-OFF cleans out this RFI, leaving no trace of any signal above the baseline.

# Radar RFI

RFI coming from radars are present in the data at the frequencies 1350 MHz (Roissy airport) and 1361 MHz (?).