ANALYSIS OF ABELL 2440

JEC-AST, Nov 2011

LAL, Orsay

We study the galaxy cluster Abell 1205 in the frequency band [1250,1500] MHz. In particular, we are interested in:

- The effect of the calibration in the ON-OFF signals.

- The evolution of the ON-OFF signal integrated in the HI galactic line at 1420.4 MHz, and in the HI-line sides at [1418,1419][1422,1423] MHz, for Raw and calibrated data.

- The evolution of the sensitivity with the integration time in the HI galactic line and the protected band [1400,1420] MHz (with Raw data).

We add some plots on other topics, such as data stability, HI cosmological line and radar signals present in the data.

Whole range [1250,1500] MHz

There is very little difference between ON-OFF and (ON-OFF)/OFF (no plot is included).

The effect of the calibration mainly consists of a widening of the signals in both channels. We find almost the same effect for calibration per run or per cycle (no plot of calibration per cycle is included).

HI galactic line at 1420.4 MHz

The evolution of integrated ON-OFF HI line signal is affected by calibration. We show the mean ON-OFF Raw, Calib_per_Run and Calib_per_Cycle for the frequency band [1420.4,1420.7] MHz. The Raw option is the most stable. In the Calib_per_Run plot some run structure shows up, but it is not very clear; the Ch0 channels has in addition a period with lower signal than the bulk of cycles at the beginning of the measurements (15th April 2011) and period with higher signal than the bulk at the end (13th June 2011). The Calib_per_Cycle plot appears to be less stable, with instabilities not correlated between channels. Note the change in Y-axis scale in the Calib_per_Cycle plot.

Making the Y-axis projection of the previous plots we see clearly an increase in the distribution width from Raw to Calib_per_Run and Calib_per_Cycle, the last one showing a quite spread distribution without a clear maximum.

# HI galactic line sides

We do the same analysis in the region just surrounding the 1.4 GHz line, i.e. at [1418,1419]  [1422,1423] MHz. The non-calibrated data appear to be quite stable. For the calibrated data, we obtain the same results as above: some unclear run structure in the Calib_per_Run plot and Ch0 having lower/higher signal than the bulk of cycles at the beginning/end of the measurements (15th April/13th June 2011). In the Calib_per_Cycle plot the signal shows instabilities which are not correlated between channels. Note the greater scale in this latter plot.

In the Y-axis projection of the previous plots, we see that how the width of the signal increases from Raw ON-OFF to Calib_per_Run and Calib_per_Cycle. In the latter plot, the distribution is very spread.

# Sensitivity

We show the Raw ON-OFF and its standard deviation vs. integration time obtained with 600 cycles of data, in the HI galactic line sides at [1418,1419][1422,1423] MHz and in the protected band [1400,1420] MHz. The evolution of the standard deviation agrees with the expected law   1/tint.

# HI signal from galaxy cluster

Abell 2440 is a cluster at redshift z~0.0906, thus we expect to detect the 21-cm HI line at the frequency of 1310 MHz. We see in the ON/OFF and OFF/OFF no evidence of  HI cosmological signal. However, we observe RFI polluting the band [1312,1314] MHz which the ON-OFF operation does not clean out.

# Radar RFI

RFI coming from radars are present in the data at the frequencies 1350 MHz (Roissy airport) and 1361 MHz (?). We also see a RFI line at 1365 MHz not seen in Abell 1205 data.