Abell 1205 – Last results

Jan 2012

1. Raw(ON-OFF)/OFF integrated in the HI galactic line at 1420 MHz.

2. Raw(ON-OFF)/OFF integrated in the band [1420,1415]MHz.

3. Raw (OFF,ON)/OFF integrated in the band [1410,1415]MHz (zoom below).

4. Raw OFF and ON in frequency band [1400,1415] MHz (zoom 600-800 cycles below).

Normally, ON and OFF of each channel are coupled, i.e. they follow the same variations at the same time. However, from cycle ~625 ON and OFF start to decouple.  Between cycles 670-690, the signal ON (OFF) of both channels follow the same variations, i.e. the coupling is made on signals and not on channels. From cycle 690 on things start to recover. In cycle ~730 we are back in the « normal » situation.