# MEMO

Authors: J.E Campagne

PAON2/09.11.12

Diffusion: R. Ansari, P. Colom, J.M. Martin, M. Moniez, A. S. Torrentò

Subject: First inspections of Tsys determination PAON-2 (9th Oct. 12 data)

# Introduction

The data used in this MEMO correspond to the Sun transit collected the 9th Oct.12 (11h01 to 12h11 UTC) as well as noise collected the same day (14h36 to 15h46 UTC) after the manual repositioning of the two dishes: East dish in azimuth to be as much as possible parallel to the West dish, and both dishes roughly at altitude 30.0-30.5°.

The visibilities used are the four auto-correlations for channels 0, 1, 2, 3 (polarization West V, East V, West H, East, H). These visibilities are obtained offline after data transfer to CCIN2P3, it is used 2sec time integration (1kHz trigger, 2000 paquets corresponding to 32ms ON Sky) and averaging on 1MHz band width but no filtering against RFI have been applied.

We investigate the Tsys measured both by signal fluctuations as well as signal level which is attributed to Sky background.

# Sun transit: a rough calibration

The 9th Oct. 12 the NOAA web site  indicates the Sun radio emission flux (unit: 10-22 W/m2/Hz):

To convert the flux (F) into temperature (T), we use the following formula:

T=F×12k10−22πR2η≈12.8×F

where we have used R = 1.5m and = 50%. For F = 84 snu we then get T = 1076K.

This temperature is used to calibrate roughly each polarization signal using the transit registered the same day thanks to the auto-correlations. For instance Figure 1 shows the Sun transit registered by the channel 0. From this graph using the Min and Max, it is extracted the calibration coefficient for each polarization defined as

Cp=TΘ(Max−Min)p

The Tableau 1 reports the 4 calibration coefficients where we notice a large dispersion among the 4 polarizations.

Tableau 1

| Polar. P | Cp [K/a.u] |
| --- | --- |
| 0 |  |
| 1 |  |
| 2 |  |
| 3 |  |

Figure 1 Auto-correlation channel 0 during the Sun transit.

# Noise data

The same day later far from the Sun transit data have been taken in the same dish position. The Figure 2 shows the 4 auto-correlations during the observations (~4000sec total). The level is slowly increasing with time. We absorb this increase by a simple linear fit from which we obtain 2 information: first the base level at mid-term of the run (bin 1000), and second the fluctuation histogram which in turn is fit with a Gaussian to extract the sigma (Figure 3).

From the base levels and the calibration coefficient we can compute a system temperature Tsys_1 if the signal is fully attributed to Sky background. In an other hand, using the sigma of the signal fluctuations, reminding that we have integrated over 1MHz and 32ms, with the same calibration coefficients we can extract also a system temperature Tsys_2.

Figure 2 Auto-correlation signal levels during the noise observation. From top to bottom and from left to right is presented the signal of the 4 polarizations 0, 1, 2, 3.

Figure 3 Signal fluctuations during noise observation after removing a slow increase of the base level.

On Tableau 2 are reported the two system temperatures extracted.  We notice quite good agreement between the two determinations of the Tsys values except for the channel 3. It is reminded that the two values should be equal in the case of white noise. We note also that West polarizations (0 & 2) are less noisy that the East ones (1 & 3).

Tableau 2

| Polar p | Base level (a.u) | Tsys_1 (K) |  fluctuations (a.u) | Tsys_2 (K) |
| --- | --- | --- | --- | --- |
| 0 | 7.17 103 | 139 | 41.74 | 145 |
| 1 | 3.99 103 | 189 | 22.12 | 187 |
| 2 | 4.46 103 | 156 | 25.94 | 163 |
| 3 | 7.74 103 | 168 | 46.77 | 181 |

Note that still remains an H V ambiguity

http://www.swpc.noaa.gov/ftpdir/lists/radio/30day_rad.txt