# MEMO

Authors: J.E Campagne

PAON2/Soleil/07.11.12

Diffusion: R. Ansari, P. Colom, J.M. Martin, M. Moniez, A. S. Torrentò

Subject: First attempt to fit Sun transit with PAON-2

# Introduction

The data used in this MEMO correspond to the Sun transit collected the 13th Oct.12 after manual repositioning of the two dishes: East dish in azimuth to be as much as possible parallel to the West dish, and both dishes roughly at altitude 30.0-30.5° corresponding to Sun transit 6th Oct. 12.

The visibilities used are the four auto-correlations for channels 0, 1, 2, 3 (polarization West V, East V, West H, East, H), the two main cross-correlations 01 and 23. These visibilities are obtained offline after data transfer to CCIN2P3, it is used 2sec time integration (1kHz trigger, 2000 paquets) and averaging on 1MHz band width but no filtering against RFI have been applied.

The time evolution of the visibilities is presented on Figure 1. The pupose of this MEMO is to investigate the possibility to simultaneously fit a set of parameters describing the time evolution of the visibilities.

Figure 1 Auto-correlations and cross-correlations observed during a Sun transit.

# The model

The model used is described by a set of analytical formula with introduction of some phenomenological parameters.

First the beam shape is taken from an ideal circular dish (J1: Bessel function):

| Beam[x]=2J1[x]x | Eq. 1 |
| --- | --- |

Of course, J. Pezzani has designed a feed which diminish the secondary lobes, but for the time being I have not yet an analytical description and this is let for future improvement. Then, each channel response can be parametrized as:

| sig[t;smax,R,Ω,tmax]=smaxBeam2πνcR sinΩ(t−tmax) | Eq. 2 |
| --- | --- |

With the central frequency on a band width of 1MHz, R an effective radius, tmax the time of maximum signal and  an effective angular velocity which in principle is equal to 7.29 10-5 sin (+alt.) ~ 7.110-5 rad/sec. Notice that a priori  is fixed to be the same for all channels; the tmax parameter is left independent for East and West dishes to account for geometrical misalignments but in principle electronic delay can be different channels to channels even in the same feed; the R parameter has been left independent for all the channels and the fit will tell us if it is relevant to distinguish H/V polarization of the same feed.

The 4 auto-correlations are then modeled by:

| Auto0[t;n0,smax,0,R0,Ω,tmax,0]=n0+sigt,smax,0,R0,Ω,tmax,02 | Eq. 3 |
| --- | --- |
| Auto1[t;n1,smax,1,R1,Ω,tmax,1]=n1+sigt,smax,1,R1,Ω,tmax,12 |  |
| Auto2[t;n2,smax,2,R2,Ω,tmax,0]=n2+sigt,smax,2,R2,Ω,tmax,02 |  |
| Auto3[t;n1,smax,3,R3,Ω,tmax,1]=n3+sigt,smax,3,R3,Ω,tmax,12 |  |

Notice that the noise parameters (ni) which count for a non zero value of auto-correlation in absence of input sky signal as a dimension of smax2.

The 2 main cross-correlations which correlate the polarization of same orientation but for the two feeds are modeled by:

| Cross01[t;n01,η01,Ω,smax,0,R0,tmax,0,smax,1,R1,tmax,1]=n01+Imsig[t,smax,0,Ω,R0,tmax,0]× | Eq. 4 |
| --- | --- |
| Cross23[t;n23,η23,Ω,smax,2,R2,tmax,0,smax,3,R3,tmax,1]=n23+Imsig[t,smax,2,Ω,R2,tmax,0]× |  |

New noise parameters n01 and n23 have been introduced as well as the East-West baseline (bWE) and the reference time tint01and tint23 which may be different of the time of maximum of the auto-correlations. Notice also that have been introduced two parameters  and  which account for possible fringe dilution effects as source extension compared to beam size.

If we list all the parameters above we end with 21 parameters to account for the visibilities of 2 dishes. In the next section is described the result of a fit of such parameters to the 6 visibilities shown in the introduction.

# Parameter determination

The model detailed in the previous section has been used to fit simultaneously the 6 auto & cross correlations as function of time, varying the central frequency  by1MHz step. Technically, after guess of initial parameter values, the  minimization use a Differential Evolution algorithm (with 100,000 trials) followed by Levenberg-Marquardt type algorithm both implemented in the O2scl library that I have interfaced with SOFIA library. For the time being I have not yet managed to simultaneously fit 2D, cf. (t, visibility maps. This is left for future work.

The Figure 2 shows the noise parameters of the auto-correlations, they are directly related to the LNA gains. The oscillations have been identified as too narrow bandwidth of some connectors along the cable chains from the LNA to the analog electronics housed in the EMBRACE container. Modifications will be made soon.

Figure 2 Noise parameter of the auto-correlations.

The effective radii for the 4 channels are shown on Figure 3. It is noticeable that the four radii are quite similar and close to the mechanical radius of the dishes equal to 1.5m. It may be worth for future work to use a single parameter, and probably to use also fixed value.

Figure 3 Effective radius for the 4 channels.

Next, the time of maximum of the auto-correlations (reminder: West H/V combined as well as East H/V). On the edges of the frequency bands the gains are so low that it is not worth to understand the behavior. But we see clearly a wavy shape with some wiggles for the East channels. It may be correlated with the smax parameters (Figure 5) or there is a time-delay frequency variation. But it seems to reflect a real effect as shown on Figure 6.

Figure 4 Time of maximum of the auto-correlations (West top, East, bottom).

Figure 5 The maximum amplitude of the auto-correlations.

Figure 6 Evolution de la cross-correlation à 1300, 13500, 1400, 1450 MHz (averaged over 1MHz).

We finish the auto-correlation parameters part by the  parameter as shown on Figure 7. The averaged value is a bit lower than expected if we exclude frequency band edges. Although at the maximum of transit  and R are quite correlated, so a lower value of   may interpreted as a higher value of R (see Figure 3).

Figure 7 The angular velocity parameter.

Now, the noise levels of the two cross-correlations are shown on Figure 8. It is clear that these parameters are nothing to do with the auto-correlation ones, and it is noticeable although not explained that the noise of cross-correlation “23” is maximum at ~1300MHz corresponding to maximum of gains.

Figure 8 Noise parameters of the cross-correlations.

The time reference of the cross-correlations (Figure 9) contrary to the time of maximum of the auto-correlations (Figure 4) are subject to large uncertainties although the two parameters are quite similar and may be replaced by a single parameters.

Figure 9 Time reference of the two cross-correlations.

The fringe dilutions parameters are shown on Figure 10. The two parameters are quite smoothly varying with frequency, they are of the order of 0.5-0.6. The Sun extension contributes to this factor. It turns out that the Fourier Transform on the Sun modeled as a uniform illuminating surface gives a contribution of the form:

η=2J1[πx]πx

with

x=bWEνcDscosΩ(t−tmax)

which at maximum transit is equal to 0.6 for bWE =12m, Ds= 0.6° at 21cm. The variation along the transit time is completely negligible at that level of precision, so the non-uniformity of the parameters may be due to other effects non taken into account in the very simplified model of the Sun.

Figure 10 Fringe dilution parameters for both cross-correlations.

Finally, the West-East baseline parameter evolution is shown on Figure 11. It is largely fluctuating and a bit higher than the expected 12m. It would be interesting to fix it at the direct on-site measurement to see which parameter will absorb the mismatch and the fluctuations.

Figure 11 The EW baseline parameter.

Note that still remains an H V ambiguity

http://en.wikipedia.org/wiki/Differential_evolution

http://o2scl.sourceforge.net/o2scl/html/index.html