## Slide 1: Calibrator Sources 3C273, 3C261
JE Campagne
16/1/2012

## Slide 2: 3C273 – 2011/12/09 ON/OFF & Drift

## Slide 3: (ON-OFF)/OFF-flitered
13 cycles 30sec
each (30% eff.)

## Slide 4: Drift Scan: I(time, frequancy)

## Slide 5: Drift Scan: time evolution
2 cycles 170sec (*)
(30% eff.)
“0” done with the first 30sec
Mean of the band [1405,1415]MHz

## Slide 6: Drift Scan: Frequency
Same behavior as ON-OFF
Mean over the time FWHM
(absolute value not to be compared to ON-OFF)

## Slide 8: 3C161 Drift Scan

## Slide 9: Data
2 runs 2011-12-09
  3C161 : 0:57:21 start
    3 cycles/4 available 2-4
  3C161B : 1:11:50
    7 cycles/9 available 3-9
1 cycle = 170 sec ON-like
Add the images time-freq. and use the first 30sec as “0”
No use of DAB

## Slide 10: Image time-Freq.

## Slide 11
Time evolution
Timing: 8.22kHz

## Slide 12
Spectra integrated during the FWHM of the drift.
Differences wrt the 3C273 spectra
Polarization?

## Slide 13: The 2 drifts of 3C161 ±3% effect on peak value
The freq. spectrum remains the same
3 cycles
7 cycles

## Slide 14: Calibration: 1polar for Itot
Ott et al. , 1994
3C161 0624-05 (Baars et al 1977) ---------------------------------------------- Freq MHz 1250 1280 1380 1410 Flux Jy 20,636 20,294 19,233 18,937 ----------------------------------------------
Freq. Flux date Obs. MHz Jy ------------------------------------- 1408 18.58 (0.09) Feb. 1990
3C161
23.2 Jy/a.u
1410MHz

## Slide 15
3C273
Bridle et al., 1972: I(1400 MHz) : 38.84 (0.70) Jy - Kühr et al., 1981 & NED Freq.(MHz) Flux (Jy) -------------------------------------------------- 1400 41.28 1.23 Witzel et al. 1971 1400 46.30 2.30 Kellerman et al. 1969 1410 45.17 1.07 Wills 1975 1410 MHz 42.00 ... Jy -> Wright et al. 1990, Parkes 1400 MHz 45.0 +/- 5 % Jy -> PAULINY-TOTH et al., 1966
1400 MHz 39.62 ± 0.38 Jy -> idem
1.4 GHz (ATCA) 35.82 ... Jy -> Tingay et al., 2003, PASJ
1.40 GHz 50100 ...milliJy -> White et al., 1992, 300ft, -> Condon et al. 1985,1986
1.4GHz 54992.1 ± 1900.3 milliJy -> Condon et al. 1998, NVSS
--------------------------------------------------
Our measurement : ~2.5 au x 23.2 Jy/au ~ 58 Jy